| Recommendation for HL7 RIM Change (Vocabulary Harmonization) |  |  | RECOMMENDATION ID: |  |  | PS01-V |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Submitted by: | - Patient Safety SIG |  | DRAFT (# and date): |  |  |  |  |
| Date submitted: | 10/19/04 |  | Committee status: |  | SIG |  |  |
| Submitter: | Mead Walker |  |  |  |  |  |  |
| NAME: | Patient Safety SIG Vocabulary Harmonization |  |  |  |  |  |  |
| STEWARD’S POSITION : |  |  |  |  |  |  |  |
| TC/SIG |  | RECOMMENDATION APPROVAL STATUS |  | AFFECTED ENTITIES OF INTEREST TO TC/SIG (responsibility level: S=Steward; I=Interested) |  |  |  |
| Vocabulary |  | The proposals have been discussed with the TC, and were generally endorsed by the committee. |  | S |  |  |  |
| ISSUE: |  |  |  |  |  |  |  |
| RECOMMENDATION(s) & RATIONALE |  |  |  |  |  |  |  |
| The material below includes a series of proposals for establishing vocabulary domains to support the ICSR (Individual Case Safety Report) ballot. These domains are needed to lend precision to the use of RIM coded attributes by that ballot. |  |  |  |  |  |  |  |
| RECOMMENDED ACTION ITEMS: |  |  |  |  |  |  |  |
| M&M, Vocab, and the harmonization group to implement recommendations. |  |  |  |  |  |  |  |
| RESOLUTION: |  |  |  |  |  |  |  |

Send to Woody, Harold, and copy Vocab TC co-chairs.

Domain: IndividualCaseSafetyReportType

[RIM attribute: Act.code]

Description: A code that is used to indicate the type of case safety report received from sender.  The current code example reference is from the International Conference on Harmonisation (ICH) Expert Workgroup guideline on Clinical Safety Data Management: Data Elements for Transmission of Individual Case Safety Reports.  The unknown/unavailable option allows the transmission of information from a secondary sender where the initial sender did not specify the type of report.

Example concepts include: Spontaneous, Report from study, Other,.

Domain: IndividualCaseSafetyReportSenderType

[RIM attribute: Organization.code]

Description: A code that is used to indicate the type of organization which is originating and sending the ICSR.  The current code example reference is from the International Conference on Harmonisation (ICH) Expert Workgroup guideline on Clinical Safety Data Management: Data Elements for Transmission of Individual Case Safety Reports.

Example concepts are: Pharmaceutical Company, Regulatory Authority, Health Professional, Regional Pharmacovigilence Center, World Health Organization Collaborating Center for International Drug Monitoring.

Domain: CaseSeriousnessCriteria

[RIM attribute: Observation.value

Description: A code that provides information on the overall effect or outcome of the adverse reaction/adverse event reported in the ICSR.  Note the criterion applies to the case as a whole and not to an individual reaction.

Example concepts are: death, disability, hospitalization, congenital anomaly/ birth defect, and other medically important condition.

Domain: SubjectReaction

[RIM attribute: Observation.value]

Description: A code to capture the kind of reaction that was suffered by the investigated subject, and that is being reported in the ICSR.  At this point, SNOMED or MedDRA have been suggested as code systems to be used for providing this information.

Example concepts include hives, swelling, rash, anaphylactic shock.

Domain: ProductCharacterization

[RIM attribute: Observation.value]

Description: A code that characterizes the role that the primary reporter felt that the suspect intervention – either a substance administration or a device related procedure - played in the incident being reported.  This code will capture the primary reporter’s assessment of the role that the suspect product played in the incident reported in the ICSR.

Examples include: Suspect, Concomitant, Interacting, Re-challenge

Domain: PertinentReactionRelatedness

[RIM attribute: Observation.value]

Description: A code to capture the reporter’s assessment of the extent to which the reaction is related to the suspect product reported in the ICSR.

Example concepts include: related, not related, possibly related and unlikely related.

Domain: PertinentReactionRelatednessMethod

[RIM attribute: Observation.methodCode ]

Description: Indicates the method that the report used to determine the relationship between a reaction and an intervention.

Examples include: global introspection, algorithm, Bardi (a form of Bayesian analysis providing a decimal probability)

Domain: SubjectReactionOutcome

[RIM attribute: CausedOutcome.value]

Description: Code that captures the type of outcome from an individual outcome of a reaction to the suspect product reported in the ICSR.

Examples include: Recovered/resolved. Recovering/resolving, Not recovered/not resolved, Recovered/resolved with sequelae, Fatal.

Domain: SubjectReactionEmphasis

[RIM attribute: Observation.value]

Description: Code that captures the emphasis that the reporter placed on this reaction.

Examples include: highlighted by the reporter, NOT serious, Not highlighted by the reporter, NOT serious, Highlighted by the reporter, SERIOUS, Not highlighted by the reporter, SERIOUS.

Domain: DeviceGenericType

[RIM attribute: Entity.code]

Description: Includes the set of codes used to identify a device that may be referred to in an ICSR report.  Example code set reference is the FDA Center for Devices and Radiological Health product code list.

Example product codes include: FOZ = Catheter, Intravascular, Therapeutic, short-term less than 30 days,

MOP = Rotator, Prosthetic Heart Valve

Domain: ReasonForNotEvaluatingDevice

[RIM attribute: Act.reasonCode]

Description: Code assigned to indicate the rationale for not performing an evaluation investigation on a device for which a defect has been reported..

Examples include: device received in a condition that made analysis impossible, device evaluation anticipated but not yet begun, device not made by company.

Domain: DeviceManufacturerEvaluationResult

[RIM attribute: Observation.value

Description: Code assigned to indicate an outcome of the manufacturer’s investigation of a product for which a defect has been reported.

Examples include:.component/subassembly failure: air cleaner, computer-, imaging system-, microprocessor-controlled device problem: cache memory, design – not fail safe.

Domain: DeviceManufacturerEvaluationMethod

[RIM attribute: Observation.value

Description: Code assigned to indicate a relevant fact within the context of the evaluation of a reported product.  There are a number of concept types including the status of the evaluation, the type of evaluation findings, and the type of activity carried out as part of the evaluation process.

Examples include: Actual device involved in incident was evaluated, electrical tests performed, visual examination.

Domain: DeviceManufacturerEvaluationInterpretation

[RIM attribute: Observation.value]

Description: A code set that includes codes that are used to characterize the outcome of the device evaluation process.  The code defines the manufacturer’s conclusions following the evaluation.

Examples include: inadequate alarms, device maintenance contributed to event, device failed just prior to use, user error caused event

Domain: ReactionActionTaken

[RIM attribute: Observation.value]

Description: Code used to indicate the action taken by practitioner in response to the problem (whether drug or device related) that is reported in the ICSR.

Examples include: failing device replaced, medication stopped, medication dose adjusted.

Domain: DeviceOperatorType

[RIM attribute: Role.code]

Description: Indicates the type of person that is responsible for operating the device related to the incident reported in ICSR.

Examples include: Physician, Nurse, Medical Technician, Respiratory Technician.